## ikea 4w_2ndTry
hoek | hoek | sr | delta sr | I_v_norm | I_v | I_v*delta_sr | sum(Iv*d_sr) | Wattage
[graden] | [rad] | [-] | [-] | [%] | [Cd] |  | is PHI_v [lm]
0 | 0 | 0 | 0.023909 | 100 | 11 | 0.263 | 134.3996 | 3.8
5 | 0.087266 | 0.023909 | 0.071546 | 100 | 11 | 0.78701
10 | 0.17453 | 0.095456 | 0.11864 | 90.9091 | 10 | 1.1864 |  | efficientie
15 | 0.2618 | 0.21409 | 0.16483 | 90.9091 | 10 | 1.6483 |  | 35.3683 | lm/W
20 | 0.34907 | 0.37892 | 0.20976 | 90.9091 | 10 | 2.0976
25 | 0.43633 | 0.58869 | 0.2531 | 90.9091 | 10 | 2.531
30 | 0.5236 | 0.84179 | 0.29451 | 90.9091 | 10 | 2.9451
35 | 0.61087 | 1.1363 | 0.33368 | 90.9091 | 10 | 3.3368
40 | 0.69813 | 1.47 | 0.37032 | 90.9091 | 10 | 3.7032
45 | 0.7854 | 1.8403 | 0.40413 | 100 | 11 | 4.4454
50 | 0.87266 | 2.2444 | 0.43487 | 100 | 11 | 4.7835
55 | 0.95993 | 2.6793 | 0.46229 | 100 | 11 | 5.0852
60 | 1.0472 | 3.1416 | 0.4862 | 100 | 11 | 5.3482
65 | 1.1345 | 3.6278 | 0.50641 | 90.9091 | 10 | 5.0641
70 | 1.2217 | 4.1342 | 0.52277 | 90.9091 | 10 | 5.2277
75 | 1.309 | 4.657 | 0.53514 | 90.9091 | 10 | 5.3514
80 | 1.3963 | 5.1921 | 0.54345 | 90.9091 | 10 | 5.4345
85 | 1.4835 | 5.7356 | 0.54762 | 90.9091 | 10 | 5.4762
90 | 1.5708 | 6.2832 | 0.54762 | 90.9091 | 10 | 5.4762
95 | 1.6581 | 6.8308 | -6.8308 | 81.8182 | 9 | 64.2086 | blue is not measured.
assumed that 40 degrees (0-20 degrees) are not giving light at all
rest assumed the same
nieuwe meting, met gecalibreerde kleurspectrometer.
Note on C1: sr = 2 π (1 - cos(θ/2)) where sr is the solid angle in steradians, and θ is the beam angle.

## ikea4w
hoek | hoek | sr | delta sr | I_v_norm | I_v | I_v*delta_sr | sum(Iv*d_sr) | Wattage
[graden] | [rad] | [-] | [-] | [%] | [Cd] |  | is PHI_v [lm]
0 | 0 | 0 | 0.023909 | 100 | 9 | 0.21518 | 111.0226 | 4.26
5 | 0.087266 | 0.023909 | 0.071546 | 100 | 9 | 0.64392
10 | 0.17453 | 0.095456 | 0.11864 | 100 | 9 | 1.0677 |  | efficientie
15 | 0.2618 | 0.21409 | 0.16483 | 100 | 9 | 1.4835 |  | 26.0616 | lm/W
20 | 0.34907 | 0.37892 | 0.20976 | 100 | 9 | 1.8879
25 | 0.43633 | 0.58869 | 0.2531 | 100 | 9 | 2.2779
30 | 0.5236 | 0.84179 | 0.29451 | 111.1111 | 10 | 2.9451
35 | 0.61087 | 1.1363 | 0.33368 | 111.1111 | 10 | 3.3368 |  | oude meting, met niet gecalibreerde meter.
40 | 0.69813 | 1.47 | 0.37032 | 111.1111 | 10 | 3.7032
45 | 0.7854 | 1.8403 | 0.40413 | 111.1111 | 10 | 4.0413
50 | 0.87266 | 2.2444 | 0.43487 | 111.1111 | 10 | 4.3487
55 | 0.95993 | 2.6793 | 0.46229 | 111.1111 | 10 | 4.6229
60 | 1.0472 | 3.1416 | 0.4862 | 111.1111 | 10 | 4.862
65 | 1.1345 | 3.6278 | 0.50641 | 111.1111 | 10 | 5.0641
70 | 1.2217 | 4.1342 | 0.52277 | 111.1111 | 10 | 5.2277
75 | 1.309 | 4.657 | 0.53514 | 100 | 9 | 4.8163
80 | 1.3963 | 5.1921 | 0.54345 | 100 | 9 | 4.891
85 | 1.4835 | 5.7356 | 0.54762 | 100 | 9 | 4.9285
90 | 1.5708 | 6.2832 | 0.54762 | 100 | 9 | 4.9285
95 | 1.6581 | 6.8308 | 0.54345 | 100 | 9 | 4.891 | blue is not measured.
100 | 1.7453 | 7.3742 | 0.53514 | 100 | 9 | 4.8163
105 | 1.8326 | 7.9094 | 0.52277 | 100 | 9 | 4.7049
110 | 1.9199 | 8.4322 | 0.50641 | 100 | 9 | 4.5577
115 | 2.0071 | 8.9386 | 0.4862 | 100 | 9 | 4.3758
120 | 2.0944 | 9.4248 | 0.46229 | 100 | 9 | 4.1606
125 | 2.1817 | 9.8871 | 0.43487 | 100 | 9 | 3.9138
130 | 2.2689 | 10.3219 | 0.40413 | 100 | 9 | 3.6372
135 | 2.3562 | 10.7261 | 0.37032 | 100 | 9 | 3.3328
140 | 2.4435 | 11.0964 | 0.33368 | 88.8889 | 8 | 2.6695
145 | 2.5307 | 11.4301 | 0.29451 | 88.8889 | 8 | 2.3561
150 | 2.618 | 11.7246 | 0.2531 | 55.5556 | 5 | 1.2655
155 | 2.7053 | 11.9777 | 0.20976 | 55.5556 | 5 | 1.0488
160 | 2.7925 | 12.1874 | 0.16483 | 0 | 0 | 0
165 | 2.8798 | 12.3523 | 0.11864 | 0 | 0 | 0
170 | 2.9671 | 12.4709 | 0.071546 | 0 | 0 | 0
175 | 3.0543 | 12.5425 | 0.023909 | 0 | 0 | 0
180 | 3.1416 | 12.5664 | 0 | 0 | 0 | 0
Note on C1: sr = 2 π (1 - cos(θ/2)) where sr is the solid angle in steradians, and θ is the beam angle.